| DC-540 Low Wind Permanent Magnet Alternator |
| --- |
| Ready to Bolt-On to your Wind or Hydro Project Today!! | DC-540 Permanent Magnet Alternator Price $289.00 Stock Status:In Stock Availability:: Usually Ships in 24 to 48 Hours Product Code: DC-540 Qty: |

Description Technical Specs Features a 303 Stainless Steel Shaft for ultimate corrosion protection and increased power output. The shaft also features a standard thread size of 5/8 x 18 threads per inch for easy adaptation to your project. All WindBlue DC-520 and DC-540 Alternators are equipped with a 3-phase External Rectifier Output pigtail. This small black connector on the back of the unit allows you to run less costly 3-conductor wire to your battery location instead of large heavy battery cables. Once at the battery location the 3-phase power is fed into an External Rectifier(sold separately) and converted to DC for connection to the battery. Note: WindBlue External Rectifier output equipped alternators can still be connected for DC output by using the battery terminal on the back of alternator, however, only one output should be connected to your batteries at a time. The other should be left unconnected. WARNING: The 3-phase External Rectifier output connector DOES NOT make your alternator a “Grid-Tie” unit so don’t try to wire the leads into the fuse box of your house as death, fire, and destruction will likely result !! Click Here to check out the External Rectifier Output Connection Kit The DC-540 Model is perfect for use as a wind generator in areas that experience average winds of 5-15 MPH. This Model Reaches 12 Volts at 130 RPM. The chart below represents actual output on a test stand. Voltage readings were recorded with the circuit open (No Load) while Amperage was recorded with the output shorted (Max Load). Your system setup will determine what output you will see in the “real world”. For example, a dead battery will pull much more current similar to the shorted output reading than will a fully charged battery. Also, the voltage will rise until it meets the voltage of your battery and then level off as the battery is “absorbing” the excess voltage as it charges. The output is unregulated. You should be sure and run a 20 or 30 amp fuse on the output to prevent damage to the unit if your load becomes excessive. Also, consider using a charge regulator so your batteries don’t become overcharged. On our test stand with a 12 Volt battery connected the PMA produced 15 Amps at 2000 RPM.